## Introduction
Introduction to the Template
www.aligned.ch
In order to customize this template do the following:
1 | In the sheet "Thresholds", set your thresholds for ALAP and not acceptable.
2 | In the sheet "Effects", list all possible effects and their associcated severities of your system. Also define the meaning of each of those severities.
3 | In the sheet "Causes" define the possible causes for your system. Also list the definition of each of those probabilities.
4 | In the sheet "FMEA" you can now select the effects and causes, and also define mitigations. The first column "Failuremode" is used to enter a possible error in the system. Then you select the pre-defined causes and effects and also define a value for the detectability. If necessary, mitigations can be defined until the RPN is in the accepable range.
Do you have comments or requests? Please drop us a mail at info@aligned.ch

## Definitions
Tresholds
| Risk-Level | Thresholds | Detectability | Definition of Detectability
|  |  | 1 | Certain
| Threshold for ALAP: | 12 | 2 | High
| Threshold for Not acceptable: | 24 | 3 | Moderate
|  |  | 4 | Unlikely
|  |  | 5 | Impossible

## Effects
List of possible Effects and their Severities
Possible Effect | Severity | Severity | Definition of Severity
|  | 1 | Negligible | Inconvenience or temporary discomfort
Delay of results | 1 | 2 | Minor | Results in temporary injury or impairment not requiring professional medical intervention
Operator is slightly bruised by moving part | 2 | 3 | Serious | Results in injury or impairment requiring professional medical intervention
Operator breaks finger | 3 | 4 | Critical | Results in permanent impairment or life-threatening injury
Operator is infected by biological contamination | 4 | 5 | Catastrophic | Results in patient death
Patient dies, due to wrong diagnosis | 5

## Causes
List of possible Causes and their Probabilities
Possible Cause | Probability | Probability | Definition of Probability
Short Circuit | 1 | 1 | Improbable | < 10-6
Water in Instrument | 2 | 2 | Remote | < 10−5 and >= 10−6
Damaged Fuse | 3 | 3 | Occasional | < 10−4 and >= 10−5
Edges of Instrument not rounded | 4 | 4 | Probable | < 10−3 and >= 10−4
Insufficient Training of Operator | 5 | 5 | Frequent | >= 10−3

## FMEA
FMEA
Failuremode | Cause | Probability | Effect | Severity | Detectability | RPN | Mitigation | Implementation of Mitigation | Probability after Mitigation | Severity after Mitigation | Detectability after Mitigation | RPN after Mitigation | Comment
| Edges of Instrument not rounded | 4 | Operator is slightly bruised by moving part | 2 | 2 | 16